## QF_MNG_03
QF-MNG-03
POWER GRID COMPANY OF BANGLADESH LTD
REPORT FOR ACHIEVEMENT OF TARGETS
Financial Year (FY): |  | 2021-2022
Substation: |  | Manikganj 132/33kV Grid Sub-Station
GMD: |  | Aricha
Information Month: |  | 2021-08-31 |  |  | Reporting Month: |  | 2021-10-19 15:05
Sl. No | Subject of Description | Unit | Target of current FY | Target of previous FY | Achievement in Information Month | Cumulative achievement in Current FY | Remarks
1 | Substation Availability | % | 99 | 99 | 0% | 0%
2 | Transmission Lines Availability | % | 99 | 99 | 0% | 0%
3 | Transmission loss | % | 3.1 | 3 | 100% | 100%
4 | System Power factor | % | 97.5 | 97.5 | 99.78% | 100%

## Tr LT kWh
| name | value | id | is_export | is_import | is_kwh | is_kvarh | is_auxiliary | is_transformer_low
date_time
2021-06-30 | GT-2 | 1099.737 | 615 | 1 | 0 | 1 | 0 | 0 | 1
2021-06-30 | GT-2 | 5028.897 | 615 | 0 | 1 | 1 | 0 | 0 | 1
2021-06-30 | GT-3 | 1158.104 | 617 | 1 | 0 | 1 | 0 | 0 | 1
2021-06-30 | GT-3 | 4839.853 | 617 | 0 | 1 | 1 | 0 | 0 | 1
2021-07-31 | GT-2 | 1099.737 | 615 | 1 | 0 | 1 | 0 | 0 | 1
2021-07-31 | GT-2 | 5066.346 | 615 | 0 | 1 | 1 | 0 | 0 | 1
2021-07-31 | GT-3 | 1158.104 | 617 | 1 | 0 | 1 | 0 | 0 | 1
2021-07-31 | GT-3 | 4879.244 | 617 | 0 | 1 | 1 | 0 | 0 | 1
2021-08-31 | GT-2 | 1099.737 | 615 | 1 | 0 | 1 | 0 | 0 | 1
2021-08-31 | GT-2 | 5106.163 | 615 | 0 | 1 | 1 | 0 | 0 | 1
2021-08-31 | GT-3 | 1158.104 | 617 | 1 | 0 | 1 | 0 | 0 | 1
2021-08-31 | GT-3 | 4920.246 | 617 | 0 | 1 | 1 | 0 | 0 | 1

## Tr LT kVARh
| name | value | id | is_export | is_import | is_kwh | is_kvarh | is_auxiliary | is_transformer_low
date_time
2021-06-30 | GT-2 | 400.427 | 615 | 1 | 0 | 0 | 1 | 0 | 1
2021-06-30 | GT-2 | 1531.249 | 615 | 0 | 1 | 0 | 1 | 0 | 1
2021-06-30 | GT-3 | 412.779 | 617 | 1 | 0 | 0 | 1 | 0 | 1
2021-06-30 | GT-3 | 1554.137 | 617 | 0 | 1 | 0 | 1 | 0 | 1
2021-07-31 | GT-2 | 400.518 | 615 | 1 | 0 | 0 | 1 | 0 | 1
2021-07-31 | GT-2 | 1536.742 | 615 | 0 | 1 | 0 | 1 | 0 | 1
2021-07-31 | GT-3 | 412.919 | 617 | 1 | 0 | 0 | 1 | 0 | 1
2021-07-31 | GT-3 | 1565.682 | 617 | 0 | 1 | 0 | 1 | 0 | 1
2021-08-31 | GT-2 | 400.563 | 615 | 1 | 0 | 0 | 1 | 0 | 1
2021-08-31 | GT-2 | 1542.1 | 615 | 0 | 1 | 0 | 1 | 0 | 1
2021-08-31 | GT-3 | 412.919 | 617 | 1 | 0 | 0 | 1 | 0 | 1
2021-08-31 | GT-3 | 1565.682 | 617 | 0 | 1 | 0 | 1 | 0 | 1

## SS Export
| name | value | id
date_time
2021-06-30 | Manikganj- Kabirpur CKT-1 | 0 | 618
2021-06-30 | Manikganj- Kabirpur CKT-2 | 0 | 619
2021-07-31 | Manikganj- Kabirpur CKT-1 | 0 | 618
2021-07-31 | Manikganj- Kabirpur CKT-2 | 0 | 619
2021-08-31 | Manikganj- Kabirpur CKT-1 | 0 | 618
2021-08-31 | Manikganj- Kabirpur CKT-2 | 0 | 619

## SS Import
| name | value | id
date_time
2021-06-30 | Manikganj- Kabirpur CKT-1 | 15219.58 | 618
2021-06-30 | Manikganj- Kabirpur CKT-2 | 2259.213 | 619
2021-07-31 | Manikganj- Kabirpur CKT-1 | 15478.31 | 618
2021-07-31 | Manikganj- Kabirpur CKT-2 | 2338.002 | 619
2021-08-31 | Manikganj- Kabirpur CKT-1 | 15615.37 | 618
2021-08-31 | Manikganj- Kabirpur CKT-2 | 2380.148 | 619